| Scheme of Valuation/Answer Key |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| APJ ABDUL KALAM TECHNOLOGICAL UNIVERSITY FOURTH SEMESTER B.TECH DEGREE EXAMINATION, MAY 2019 |  |  |  |  |  |
| Course Code: EE208 |  |  |  |  |  |
| Course Name: MEASUREMENTS AND INSTRUMENTATION (EE) |  |  |  |  |  |
| Max. Marks: 100 |  |  |  | Duration: 3 Hours |  |
| PART A |  |  |  |  |  |
|  |  | Answer all questions, each carries 5 marks |  |  | Marks |
| 1 |  | (Unit of deflection torque is not given - it may be in N-m or Kg-m) (if Td in Kg-m) …… 5 marks (if Td in N-m) …….. 5 marks |  |  | 5 |
| 2 |  | Measurement of insulation resistance by loss of charge method - Figure (2 marks) Explanation (3 marks) |  |  | 5 |
| 3 |  | Figure (2 marks) Explanation (3 marks) |  |  | 5 |
| 4 |  | Circuit diagram (3 marks) Explanation (2 marks) |  |  | 5 |
| 5 |  | Wein’s Bridge circuit (3 marks) Frequency expression, rad/s or Hz (2 marks) (no derivation) |  |  | 5 |
| 6 |  | Cathode ray tube - diagram (4 marks) Labelling (1 mark) |  |  | 5 |
| 7 |  | Figure (2 marks) Explanation (3 marks) |  |  | 5 |
| 8 |  | General principle (2 marks) Diagram (1 mark) Working (2 marks) |  |  | 5 |
| PART B |  |  |  |  |  |
| Answer any two questions, each carries 10 marks |  |  |  |  |  |
| 9 |  | Attraction type - diagram (2 marks) Construction (2 ½ marks) Repulsion type - diagram (2 marks) Construction (2 ½ marks) Torque equation (1 mark) (No derivation) |  |  | 10 |
| 10 | a) | Any two errors -- explanation (3 marks) Compensation methods (2 marks) |  |  | 5 |
|  | b) | Figure (2 marks) Explanation (3 marks) |  |  | 5 |
| 11 | a) | Deflecting torque, damping torque (air friction, fluid friction, eddy current), controlling torque (spring & gravity) – only definition required (no detailing) (5 marks) |  |  | 5 |
|  | b) | Figure (3 marks) Explanation (2 marks) |  |  | 5 |
| PART C |  |  |  |  |  |
| Answer any two questions, each carries 10 marks |  |  |  |  |  |
| 12 |  | Phasor diagram of current transformer (4 marks) Derivation of ratio error (3 marks) Derivation of phase angle error ( 3 marks) |  |  | 10 |
| 13 | a) | Figure (2 marks) Explanation (3 marks) |  |  | 5 |
|  | b) | Explanation (5 marks) |  |  | 5 |
| 14 |  | Circuit (3 marks) Explanation (4 marks) Derivation (3 marks) |  |  | 10 |
| PART D |  |  |  |  |  |
| Answer any two questions, each carries 10 marks |  |  |  |  |  |
| 15 | a) | Maxwell’s LC Bridge circuit - diagram (2 marks) Derivation of and …… 3 marks |  |  | 5 |
|  | b) | Basic or commercial (anyone) DC potentiometer Figure (3 marks) Explanation (2 marks) |  |  | 5 |
| 16 |  | Explanation of measurement of frequency (5 marks), Explanation of measurement of phase angle (5 marks) |  |  | 10 |
| 17 | a) | Explanation – measurement using load cell (5 marks) |  |  | 5 |
|  | b) | Explanation (5 marks) |  |  | 5 |
| **** |  |  |  |  |  |